[image: image2.jpg]GenScript

Your Innovation Partner in Drug Discovery!

The Biology CRO






CERTIFICATE OF ANALYSIS

Product information
	Product Name
	Biotin-Protein L

	Product Cat. No. 
	M00097

	Lot No.
	10I000186

	Quantity
	1 mg

	Presentation
	Lyophilized powder from 2ml 0.5 mg/ml Biotin-Protein L solution with PBS, pH 7.4, containing 10 mg/ml BSA and 0.02% sodium azide.

	Conjugation 
	Biotin conjugated

	Storage
	The product is stable in lyophilized form for at least one year if stored at -20°C. The reconstituted product can be stored for up to three months at 2-8°C or for up to one year at -20°C or below. Avoid repeated freeze and thaw cycles.

	Expiration date
	9/16/2011


Quality Control
	Test Items


	Specifications
	Results

	Reactivity
	ELISA titer ≥1:20,000
	Passed 

	
	Specific to human IgG by Western blot
	Passed 


Caution: 


For laboratory or further manufacturing use only.  Not intended for household use. If you have any questions about the Certificate of Analysis, please contact our customer service representative at 1-877-436-7274 (Toll-Free), or 1-732-885-9188.
          Certified by: [image: image1.jpg]


       Date: 9/17/2010 

          Quality Assurance Manager
[image: image3.jpg]860 Centennial Ave., Piscataway, NJ 08854, USA

Toll-free Tel: 1-877-436-7274 Fax: 1-732-210-0262 Email: product@genscript.com Web: www.genscript.com





[image: image2.jpg][image: image3.jpg]