	[image: image2.jpg]


[image: image2.jpg]
	GCpro Taq DNA Polymerase                                                                                       3



	GCpro Taq DNA Polymerase
Technical Manual No. TM0216                     Version12062006


[image: image1.jpg]



[image: image3.png]



	


	I
	Description….…………………………………………………….……………….………….
	1

	II
	Applications….………………………………………………………………………….…….
	1

	III
	Key Features   ……………………………………………………………………………….
	1

	IV
	Related Products……………………………………………………………………………..
	2

	V
	Shipping and Storage    ………………………….………………………………………….
	2

	VI
	General PCR Protocol Using GCpro Taq DNA Polymerase…………………………….
	2

	VII
	Troubleshooting……………………………... …………………….………………………..
	3

	VIII
	Order Information..…………………………………………………………………………... 
	3


	


I. DESCRIPTION
GCpro Taq DNA Polymerase is a versatile and easy-to use enzyme, with powerful advantages for all PCR* applications.  GCpro Taq DNA Polymerase is prepared from a recombinant clone expressed in E. coli, containing the DNA polymerase I gene from Thermococcus litoralis.  The enzyme includes a highly processive 5'-3' DNA polymerase and shows no detectable 5'-3' exonuclease activity.  Its inherent 3'-5' proofreading activity results in a greatly increased fidelity of DNA synthesis compared to Taq DNA Polymerase.  The enzyme includes an optimized reaction buffer, which enables the amplification of GC-rich templates and problematic templates with secondary structures that interfere with the PCR process.  GCpro Taq DNA Polymerase provides a very robust synthesis of longer GC-rich amplification products.  GCpro Taq DNA Polymerase has all the properties of regular Taq DNA Polymerases for every standard PCR application.
II. APPLICATIONS
GCpro Taq DNA Polymerase can be used in most PCR applications including the following: 
· High fidelity PCR amplification. 

· High fidelity T/A cloning. 

· Site-directed mutagenesis. 

III. KEY FEATURES
Key features of GCpro Taq DNA Polymerase:
· Eight times more accurate than Taq DNA polymerase.

· Excellent yields with GC-rich and other complex templates.

· Cloning with TA end.

· High specific activity.

· High specificity due to combination of enzyme and unique PCR buffer.

· Highly thermostable, remaining 95% active after 2 hours incubation at 95℃. 

· Incorporating modified nucleotides (e.g. biotin-, fluorescent-labeled nucleotides).
IV. RELATED PRODUCTS

GenScript also provides GCpro Taq DNA Polymerase Complete System to facilitate your experiment:
	Components
	E00009
	E00010

	GCpro Taq DNA Polymerase
	250 U
	250 U

	2× Reaction Buffer
	1.5 ml
	1.5 ml

	dNTPs
	
	50 μl (10 mM each)

	Lyophilized Positive Control
	
	50 rxns

	Manual
	TM0216
	TM0216


V. SHIPPING AND STORAGE
This product is shipped on ice.  Store the product at -20℃.
VI. GENERAL PCR PROTOCOL USING GCPRO TAQ POLYMERASE
This is a general PCR amplification protocol, optimization may be needed to get satisfactory results.
1. Set up 50 μl PCR reaction by adding the following reagents to a thin-walled PCR microcentrifuge tube or   

plate and mixing gently.
	Reagent
	Volume
	Final Concentration

	Water, PCR grade
	20 μl
	

	2X Buffer
	25 μl
	1X

	10 mM dNTP
	  1 μl
	200 nM each

	20 μM Forward primer
	  1 μl
	400 nM

	20 μM Reverse primer
	  1 μl
	400 nM

	Template DNA
	  1 μl
	1-100 ng per reaction

	5 U/μl GCpro Taq DNA Polymerase
	  1 μl
	0.1 U/μl

	Total
	50 μl
	


2. Suggested PCR profile:

i. Initial Denaturation: 94-96℃ for 2 min.

ii. 25-30 cycles of Denaturation: 94-96℃ for 30 sec.

iii. Annealing: 50-60℃ for 30 sec (primer Tm - 5℃).

iv. Extension: 72℃ for 30 sec to 5 min (1.5-2.5 kb/min).

v. Final extension: 72℃ for 7 min.

VII. TROUBLESHOOTING
The table below is guideline for troubleshooting. 
	Problem
	Probable Cause
	Solution

	No PCR DNA
	Extension time is too short.

One or more PCR components may be missing.
PCR conditions are not optimized.  The annealing temperature may be too high; more cycles may be needed; the denaturation time may be too short.

The primers may not be designed optimally.

Target template is highly GC-rich.
	GCpro Taq DNA Polymerase require a minimum extension time of 1-2 min for 1 kb template.
Run a positive control to make sure the PCR reaction is properly set-up.
Optimize the PCR conditions by decreasing annealing temperature in 2-4℃ increments, or increasing the number of cycles, or increasing the denaturation time in 10 sec increments.  It is recommended to change only one parameter each time.
The primer designing is critical for high quality PCR.  Longer primers of 25-30 nucleotides with a GC content of 45-60% and with a more stable 5’-end than 3’-end usually make good primers.
The target will be difficult to denature even with a longer denaturation step.

	Non-specific
DNA products
	The primers may not be designed optimally.
Annealing temperature is too low.
	See above. 

Optimize the PCR conditions by increasing annealing temperature in 2-4℃ increments, or decreasing the number of cycles. 

	False positive
	Reagents are contaminated.
	It is recommended that a negative control without using genomic DNA be run to make sure no contamination occurs.


VIII. ORDER INFORMATION
GCpro Taq DNA Polymerase, Cat. No. E00009

Telephone: 732-885-9188, 732-357-3839 

Fax: 732-210-0262, 732-885-5878 

E-mail: info@genscript.com 

For Research Use Only. 
* The PCR process is covered by US. Patent numbers 4683195 and 4683202 issued to Cetus and owned by Hoffman-La Roche Inc.  GenScript does not encourage or support the unauthorized use of the PCR process.  Use of this product is recommended for persons that either have a license to perform PCR or are not required to obtain a license.
GenScript Corporation

120 Centennial Ave., Piscataway, NJ 08854

Tel: 732-885-9188, 732-357-3839

Fax: 732-210-0262, 732-885-5878

E-mail: info@genscript.com
Web: http://www.Genscript.com





































GenScript Corporation       Tel: 732-885-9188        Fax: 732-210-0262        www.genscript.com      E-mail: info@genscript.com

GenScript Corporation       Tel: 732-357-3839        Fax: 732-210-0262        www.genscript.com      E-mail: info@genscript.com

