[image: image2.jpg]é GenScript Corporation One stop for gene, peptide, protein, and antibody services





CERTIFICATE OF ANALYSIS
Product Name:               Fmoc-L-Leu-OH  

CAS No.:                   35661-60-0 

Lot No.:                    A28917 

Molecular Formula:           C21H23NO4                 

Molecular Weight:            353.4 

Manufacturing Date:          July 10, 2004. 

Prolonged Storage:           <25 oC 

	Tests 
	Specifications 
	Results 

	Appearance 

Purity(HPLC) 

Specific Rotation[a]EQ \* jc2 \o\ad(\s\up 17( ),20D )
Optical Purity 

TLC 

Solubility 
	White to off white powder 

≥98.0% 

-7.0o±1.5o (C=1% in DMF) 

< 0.5 % D-enantiomer 

Purity≥98% 

25 mmole in 50 ml DMF clearly soluble 
	White powder 

99.5% 

-6.7 o (C=1% in DMF) 

< 0.1 % 

>99% 

Clear solution 


Quality control (seal):    
Sample Name: Fmoc- Leu-OH                Analyzed: 07.01.04 11:30 

Sample Description: 04-12-1025 A28917,       Processed: 07.01.04 17:18
0.3mg/ml CAN                            Reported:  07.01.04  17:18
Vial Number: 29 

Application: Fmoc0301 
[image: image1.jpg]Tntensity (a0)

150

w00

w0

00

100

00

E|
P

LALALAL S At aehe oaknde A e hehs A A M A MM M M A e

»

i 2
Retention tine (min)

B



 

Acquisition Method: Fmoc 

Processing Method: Fmoc 

Column Type: MNNucleosil C18HD 125×3mm 100-3 

Solvent A: TEAP 0.05 M pH 2.25 

Solvent B: Eluent A + ACN(10/90) 

Gradient: 35-95% B in 35 min 

Flow: 0.8ml/min 

Detection: UV 215nm 

Temp: 30°C 

Volume: 5,0ul 

	No. 
	RT 
	Area 
	Area % 
	BC 

	1 
	14,48 
	28221619 
	100,100 
	VB 

	 
	 
	28221619 
	100,00 
	 


Peak rejection level:10000 

                                 [image: image3.jpg]120 Centennial Ave., Suite 105, Piscataway, NJ 08854, USA
Tel: 1-732-885-9188 Fax: 1-732-210-0262 Email: info@genscript.com Web: www.genscript.com





[image: image2.jpg][image: image3.jpg]